# Web System Flow – Online Monitoring and Performance Analysis Tool for a Micro Hydro Power Plant

## 1. Login Page

The system will start with a simple login page. The user will enter a username and password to access the system.

After successful login, the user will be redirected to the main dashboard of the monitoring system.

## 2. Main Dashboard (Home Page)

The dashboard will display the real-time monitoring of the hydro power plant.

Different cards or panels will show important parameters.

Electrical Data:

• Voltage

• Current

• Power Output

• Frequency

• Load

Mechanical / Water Data:

• Turbine RPM

• Water Flow Rate

• Water Head

• Generator Temperature

These values will update automatically every few seconds. If the parameters are within the normal range, they will appear in green.

## 3. Efficiency Section

The dashboard will include a section that shows the efficiency of the hydro power plant.

The system will automatically calculate efficiency using the formula:

Efficiency = Electrical Power Output / Hydraulic Power Input

The result will be displayed on the screen, for example:

Plant Efficiency: 87%

If efficiency becomes too low, the system may generate a warning.

## 4. Standard vs Actual Comparison

Another section of the system will compare the standard operating values with the current real-time values.

Example:

Standard Voltage: 220V

Current Voltage: 240V

If the difference becomes too large, the system will highlight the value to indicate a potential issue.

## 5. Alert / Alarm System

If the system detects abnormal conditions, it will generate alert messages on the dashboard.

Examples of alerts:

• Over Voltage Detected

• Turbine Overspeed

• Low Water Flow

• Generator Overheating

Alerts will appear in red so the operator can quickly identify the problem.

## 6. Graphs and History Page

The system will also include a page that shows graphs for historical analysis.

Example graphs:

• Voltage vs Time

• Power Output vs Time

• Turbine RPM vs Time

These graphs help engineers understand how the plant has been performing over time.

## 7. Data Storage

All plant data will be stored in a database.

This allows the system to:

• View past data

• Generate reports

• Perform performance analysis

## 8. Complete System Flow

The overall system will work in the following steps:

1. Sensors collect data from the hydro power plant.

2. The data is sent to the system server.

3. The server performs calculations such as efficiency.

4. The data is stored in the database.

5. The web dashboard displays live monitoring data.

6. If any abnormal condition occurs, the system generates alerts.

In summary, the website acts as a live monitoring dashboard where engineers can observe plant parameters in real time, check efficiency, and receive alerts when faults occur.